| Company | ZPA Nová Paka, a.s. | Contractor |  |
| --- | --- | --- | --- |
| To: |  | Contact Person |  |
|  | tel.: +420 493 761 234 e-mail: obchod@zpanp.cz www.zpanp.cz | tel: |  |
|  |  | fax: E-mail: |  |

QUESTIONNAIRE LIST

1.Object __________________________________________________________________________________

2.Purpose of analysis______________________________________________________________________________

( quality control, technological control etc.)

3. Composition of analyzed fluid

| Component | Concentration, % volume |  |  | Mark–which component is to be analyzed | Component | Concentration, mg/m3 |  |  | Mark–which component is to be analyzed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Min | Norm | Max |  |  | Min | Norm | Max |  |
| СН4 |  |  |  |  | H2S |  |  |  |  |
| С2Н6 |  |  |  |  | CH3SH |  |  |  |  |
| С3Н8 |  |  |  |  | C2H5SH |  |  |  |  |
| i-С4Н10 |  |  |  |  | i-C3H7SH |  |  |  |  |
| n-С4Н10 |  |  |  |  | C3H7SH |  |  |  |  |
| i-С5Н12 |  |  |  |  | tert-C4H9SH |  |  |  |  |
| n-С5Н12 |  |  |  |  | sec-C4H9SH |  |  |  |  |
| С6+ |  |  |  |  | i-C4H9SH |  |  |  |  |
| СО2 |  |  |  |  | C4H9SH |  |  |  |  |
| СН3ОН |  |  |  |  | O2 |  |  |  |  |
| N2 |  |  |  |  | H2O |  |  |  |  |

4. Phase of analyzed fluid (gas or liquid) ___________________________________________________________

5. Presence of other components __________________________________________________________________

6. Presence of sulfur compounds  _________________________concentration, mg/m3  _____________

7. Presence of solid phase components (size, structure) ___________________________ concentration, mg/m3  _____________

| Pipe diameter, mm | Material of pipe | Length of pipeline, supplying the sample from sampler to the chromatograph |
| --- | --- | --- |

8.Quantity of sampling points_____________________________________________________________________

! If the quantity of sampling points is 2 or more – it is necessary to provide the diameter of pipeline, temperature of gas and indicate sample composition for each point.

9. Frequency control of gas composition at each point____________________________

| № | Parameter |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Min | Norm | Max |
| 1 | Pressure of gas at sampling point, MPa |  |  |  |
| 2 | Temperature: of gas at sampling point, С |  |  |  |
|  | of environment at sampling point, С |  |  |  |
|  | of environment at place of installation of chromatograph, С |  |  |  |
| 3 | Dew point (by moisture) at operating pressure of gas, С |  |  |  |

| Workstation of GC | personal computer | industrial computer of desktop performance |
| --- | --- | --- |
|  | notebook | industrial computer (designed of installation to 19”- stand) |

10. Distance (through cable routing) from place of installation of chromatograph to the point of installation of workstation _______ m

11. Distance from place of installation of chromatograph to waste point: __________m

| Data transmission | Modbus TCP |
| --- | --- |
|  | Modbus RTU RS232/485 |
| Display and input of data | TouchScreen |
|  | LCD screen |

| Next equipment and accessories are available on request |  |  |
| --- | --- | --- |
| For installation: heated block box (4,2х2,2х2,8м) with emergency ventilation and gas control | For working station heated block box (4,2х2,2х2,8м) | Cylinder 10 l with calibration gas (for MAG, MAG-S, AnOx) Cylinder 40 l with carrier gas (for MAG, MAG-S) Rack for cylinders Uninterruptible power supply 19” rack |

Other requirements _________________________________________________________________________________

_______________________________________________________________________________________________

Date     ____________________20__   			Signature_____________________________